## 《消防工程综合实训》课程中英文简介

- Comprehensive Training of Fire Engineering

课程代码：080932B	Course Code：080932B

课程名称：消防工程综合实训	Course Name：Comprehensive Training of

Fire Engineering

学时：32	Periods：32

学分：2	Credits：2

考核方式：考查	Assessment：Test

先修课程：流体力学、防火防爆技术	Preparatory Courses：Fluid Mechanics/

Fire and Exposion Prevention

本课程的学习目的及内容可分为以下七个部分：

（1）可燃材料潜在火灾危险性评估

（2）建筑防火/防烟分区划分

（3）建筑灭火器配置

（4）建筑消火栓系统设计

（5）建筑自动喷水灭火系统设计

（6）建筑防排烟系统设计

（7）建筑火灾自动报警控制系统设计

通过这七部分的学习，使学生具备各类消防设施、设备的消防安全技术与工程方法，掌握消防法规、防灭火工程技术、火灾调查和灭火救援等方面的知识和能力；培养能在公安消防部门和企事业单位从事消防工程技术、管理和灭火救援指挥方面工作的工科高级专门人才。

This course has seven major aims and topics:

(1) Potential fire risk assessment of combustible materials,

(2) Partition of building fire and smoke prevention,

(3) Building fire extinguisher configuration,

(4) design of building fire hydrant system,

(5) design of building sprinkler system,

(6) Building smoke control system design,

(7) Design of automatic alarm control system for building fire.

The study of the above topics to train the students to possess fire safety technology and engineering methods of all kinds of fire fighting facilities, equipment, and fire regulations, fire protection engineering, fire investigation and fire rescue and other aspects of knowledge and ability, can Be engaged in the engineering talents of fire engineering and technical, management and the fire in the public security departments and enterprises engaged in fire fighting rescue work.